## Sheet1
verb | noun | timestamp | source | messageId | format | businessApplication | messageType | messageTypeName | businessDayFrom | businessDayTo | sendingUser | processStep | timeframe | timeframeNumber | recipients | coordinationStatus
created | ServiceA_CalculationResults | 2020-03-17T12:32:19Z | SERVICE_A | b071aa50097f49f1bd69e82a070084b6 | XLSX | PanEuropeanServiceATool | 101 | ServiceA_NotificationA | 2020-01-10T23:00:00Z | 2020-01-17T23:00:00Z | 10XCH-SWISSGRIDC | INITIAL_RUN | W | 24 | 10XBA-JPCCZEKC-K; 10XAL-KESH-----J | CON
dataType | name | id | label | timestamp | eicCode | value | Accept | Reject | Explanation | Comment
timeserie | ResultsC | 1 | Contingency-1 | 2020-03-01T00:00:00Z | 10XDE-VE-TRANSMK | Line A
timeserie | ResultsC | 1 | Constraint-1 | 2020-03-01T00:00:00Z | 10X1001A1001A094 | Line B
timeserie | ResultsC | 1 | Loading-1 | 2020-03-01T00:00:00Z |  | 103
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T00:00:00Z | 10X1001A1001A094 | Open Tie line Vigy-Ensdorf 380kV | 1 | 0 |  | ok for us
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T00:00:00Z | 10XDE-VE-TRANSMK | Open Tie line Vigy-Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 1 | CRA-1 | 2020-03-01T00:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Zwen | 0 | 1 | Not available
timeserie | ResultsC | 1 | PRALoading | 2020-03-01T00:00:00Z |  | 101
timeserie | ResultsC | 1 | CRALoading | 2020-03-01T00:00:00Z |  | 93
timeserie | ResultsC | 1 | Contingency-1 | 2020-03-01T08:00:00Z | 10XDE-VE-TRANSMK | Line A
timeserie | ResultsC | 1 | Constraint-1 | 2020-03-01T08:00:00Z | 10X1001A1001A094 | Line B
timeserie | ResultsC | 1 | Loading-1 | 2020-03-01T08:00:00Z |  | 110
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T08:00:00Z | 10X1001A1001A094 | Open Tie line Vigy-Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T08:00:00Z | 10XDE-VE-TRANSMK | Open Tie line Vigy-Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 1 | CRA-1 | 2020-03-01T08:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Zwen | 0 | 1 | Not available
timeserie | ResultsC | 1 | PRALoading | 2020-03-01T08:00:00Z |  | 105
timeserie | ResultsC | 1 | CRALoading | 2020-03-01T08:00:00Z |  | 99
timeserie | ResultsC | 2 | Contingency-1 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | Line F
timeserie | ResultsC | 2 | Constraint-1 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | Line G
timeserie | ResultsC | 2 | Loading-1 | 2020-03-01T04:00:00Z |  | 108
timeserie | ResultsC | 2 | PRA-1 | 2020-03-01T04:00:00Z | 10X1001A1001A094 | Open Line C | 1 | 0
timeserie | ResultsC | 2 | PRA-2 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Zwen | 1 | 0
timeserie | ResultsC | 2 | CRA-1 | 2020-03-01T04:00:00Z | 10XCS-SERBIATSO8 | 2 nodes in Nis 380kV | 1 | 0
timeserie | ResultsC | 2 | CRA-2 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | 2 nodes in Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 2 | PRALoading | 2020-03-01T04:00:00Z |  | 106
timeserie | ResultsC | 2 | CRALoading | 2020-03-01T04:00:00Z |  | 92
timeserie | ResultsC | 3 | Contingency-1 | 2020-03-01T07:00:00Z |  | Line J
timeserie | ResultsC | 3 | Constraint-1 | 2020-03-01T07:00:00Z |  | Line K
timeserie | ResultsC | 3 | Constraint-2 | 2020-03-01T08:00:00Z |  | Transformer R
timeserie | ResultsC | 3 | Loading-1 | 2020-03-01T08:00:00Z |  | 109
timeserie | ResultsC | 3 | Loading-2 | 2020-03-01T08:00:00Z |  | 107
timeserie | ResultsC | 3 | PRA-1 | 2020-03-01T09:00:00Z | 10X1001A1001A094 | Open Line Z | 1 | 0
timeserie | ResultsC | 3 | PRA-2 | 2020-03-01T09:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Romsac | 1 | 0
timeserie | ResultsC | 3 | CRA-1 | 2020-03-01T09:00:00Z | 10XCS-SERBIATSO8 | 2 nodes in Nis 380kV | 0 | 1 | Impossible to implement | Maybe 3 nodes ?
timeserie | ResultsC | 3 | CRA-2 | 2020-03-01T10:00:00Z | 10XDE-VE-TRANSMK | 2 nodes in Ensdorf 380kV | 0 | 1 | Not available
timeserie | ResultsC | 3 | PRALoading | 2020-03-01T10:00:00Z |  | 108
timeserie | ResultsC | 3 | CRALoading | 2020-03-01T10:00:00Z |  | 106
timeserie | ResultD |  | BA-RS | 2020-03-01T00:00:00Z | 10XCS-SERBIATSO8; | 3445 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T00:00:00Z | 10YBA-JPCC-----D | 3445 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T01:00:00Z | 10XCS-SERBIATSO8; | 2750 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T01:00:00Z | 10YBA-JPCC-----D | 3742 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T02:00:00Z | 10XCS-SERBIATSO8; | 1542 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T02:00:00Z | 10YBA-JPCC-----D | 4885 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T03:00:00Z | 10XCS-SERBIATSO8; | 5351 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T03:00:00Z | 10YBA-JPCC-----D | 3448 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T04:00:00Z | 10XCS-SERBIATSO8; | 2829 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T04:00:00Z | 10YBA-JPCC-----D | 2912 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T05:00:00Z | 10XCS-SERBIATSO8; | 1903 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T05:00:00Z | 10YBA-JPCC-----D | 3675 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T06:00:00Z | 10XCS-SERBIATSO8; | 4825 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T06:00:00Z | 10YBA-JPCC-----D | 2894 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T07:00:00Z | 10XCS-SERBIATSO8; | 5334 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T07:00:00Z | 10YBA-JPCC-----D | 2232 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T08:00:00Z | 10XCS-SERBIATSO8; | 2039 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T08:00:00Z | 10YBA-JPCC-----D | 3510 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T09:00:00Z | 10XCS-SERBIATSO8; | 3357 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T09:00:00Z | 10YBA-JPCC-----D | 4135 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T10:00:00Z | 10XCS-SERBIATSO8; | 1900 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T10:00:00Z | 10YBA-JPCC-----D | 2081 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T11:00:00Z | 10XCS-SERBIATSO8; | 1295 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T11:00:00Z | 10YBA-JPCC-----D | 4173 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T12:00:00Z | 10XCS-SERBIATSO8; | 1948 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T12:00:00Z | 10YBA-JPCC-----D | 4892 | 0 | 1 | 500 | Too high value
timeserie | ResultD |  | BA-RS | 2020-03-01T13:00:00Z | 10XCS-SERBIATSO8; | 1027 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T13:00:00Z | 10YBA-JPCC-----D | 1376 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T14:00:00Z | 10XCS-SERBIATSO8; | 5606 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T14:00:00Z | 10YBA-JPCC-----D | 3596 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T15:00:00Z | 10XCS-SERBIATSO8; | 3663 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T15:00:00Z | 10YBA-JPCC-----D | 3063 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T16:00:00Z | 10XCS-SERBIATSO8; | 1701 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T16:00:00Z | 10YBA-JPCC-----D | 2497 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T17:00:00Z | 10XCS-SERBIATSO8; | 5983 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T17:00:00Z | 10YBA-JPCC-----D | 1860 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T18:00:00Z | 10XCS-SERBIATSO8; | 3730 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T18:00:00Z | 10YBA-JPCC-----D | 2413 | 0 | 1 | 2000 | NTC reduction required by BA
timeserie | ResultD |  | BA-RS | 2020-03-01T19:00:00Z | 10XCS-SERBIATSO8; | 2983 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T19:00:00Z | 10YBA-JPCC-----D | 5807 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T20:00:00Z | 10XCS-SERBIATSO8; | 1556 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T20:00:00Z | 10YBA-JPCC-----D | 2259 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T21:00:00Z | 10XCS-SERBIATSO8; | 3495 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T21:00:00Z | 10YBA-JPCC-----D | 3795 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T22:00:00Z | 10XCS-SERBIATSO8; | 4257 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T22:00:00Z | 10YBA-JPCC-----D | 1749 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T23:00:00Z | 10XCS-SERBIATSO8; | 5103 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T23:00:00Z | 10YBA-JPCC-----D | 4267 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T00:00:00Z | 10XCS-SERBIATSO8; | 4603 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T00:00:00Z | 10YBA-JPCC-----D | 1185 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T01:00:00Z | 10XCS-SERBIATSO8; | 4319 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T01:00:00Z | 10YBA-JPCC-----D | 4909 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T02:00:00Z | 10XCS-SERBIATSO8; | 3815 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T02:00:00Z | 10YBA-JPCC-----D | 3098 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T03:00:00Z | 10XCS-SERBIATSO8; | 2569 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T03:00:00Z | 10YBA-JPCC-----D | 5968 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T04:00:00Z | 10XCS-SERBIATSO8; | 5053 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T04:00:00Z | 10YBA-JPCC-----D | 3803 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T05:00:00Z | 10XCS-SERBIATSO8; | 1508 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T05:00:00Z | 10YBA-JPCC-----D | 1270 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T06:00:00Z | 10XCS-SERBIATSO8; | 2057 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T06:00:00Z | 10YBA-JPCC-----D | 3425 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T07:00:00Z | 10XCS-SERBIATSO8; | 2177 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T07:00:00Z | 10YBA-JPCC-----D | 1734 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T08:00:00Z | 10XCS-SERBIATSO8; | 1538 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T08:00:00Z | 10YBA-JPCC-----D | 4705 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T09:00:00Z | 10XCS-SERBIATSO8; | 2468 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T09:00:00Z | 10YBA-JPCC-----D | 1920 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T10:00:00Z | 10XCS-SERBIATSO8; | 3463 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T10:00:00Z | 10YBA-JPCC-----D | 5877 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T11:00:00Z | 10XCS-SERBIATSO8; | 2768 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T11:00:00Z | 10YBA-JPCC-----D | 1114 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T12:00:00Z | 10XCS-SERBIATSO8; | 5762 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T12:00:00Z | 10YBA-JPCC-----D | 1642 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T13:00:00Z | 10XCS-SERBIATSO8; | 4819 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T13:00:00Z | 10YBA-JPCC-----D | 4654 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T14:00:00Z | 10XCS-SERBIATSO8; | 2415 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T14:00:00Z | 10YBA-JPCC-----D | 4444 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T15:00:00Z | 10XCS-SERBIATSO8; | 3616 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T15:00:00Z | 10YBA-JPCC-----D | 4980 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T16:00:00Z | 10XCS-SERBIATSO8; | 2450 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T16:00:00Z | 10YBA-JPCC-----D | 5811 | 0 | 1 | 1500 | Have to decrease border exchange
timeserie | ResultD |  | RS-BA | 2020-03-01T17:00:00Z | 10XCS-SERBIATSO8; | 1018 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T17:00:00Z | 10YBA-JPCC-----D | 5883 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T18:00:00Z | 10XCS-SERBIATSO8; | 3674 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T18:00:00Z | 10YBA-JPCC-----D | 4170 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T19:00:00Z | 10XCS-SERBIATSO8; | 5272 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T19:00:00Z | 10YBA-JPCC-----D | 1662 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T20:00:00Z | 10XCS-SERBIATSO8; | 1458 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T20:00:00Z | 10YBA-JPCC-----D | 5492 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T21:00:00Z | 10XCS-SERBIATSO8; | 3528 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T21:00:00Z | 10YBA-JPCC-----D | 4541 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T22:00:00Z | 10XCS-SERBIATSO8; | 4174 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T22:00:00Z | 10YBA-JPCC-----D | 3738 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T23:00:00Z | 10XCS-SERBIATSO8; | 3067 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T23:00:00Z | 10YBA-JPCC-----D | 1902 | 1 | 0