## Sheet1
verb | noun | timestamp | source | messageId | format | businessApplication | messageType | messageTypeName | businessDayFrom | businessDayTo | sendingUser | processStep | timeframe | timeframeNumber | recipients | coordinationStatus
created | ServiceA_CalculationResults | 2020-03-17T12:32:19Z | SERVICE_A | b071aa50097f49f1bd69e82a070084b6 | XLSX | PanEuropeanServiceATool | 101 | ServiceA_NotificationA | 2020-01-10T23:00:00Z | 2020-01-17T23:00:00Z | 10XCH-SWISSGRIDC | INITIAL_RUN | W | 24 | 10XBA-JPCCZEKC-K; 10XAL-KESH-----J | CON
dataType | name | id | label | timestamp | eicCode | value | Accept | Reject | Explanation | Comment
timeserie | ResultsC | 1 | Contingency-1 | 2020-03-01T00:00:00Z | 10XDE-VE-TRANSMK | Line A
timeserie | ResultsC | 1 | Constraint-1 | 2020-03-01T00:00:00Z | 10X1001A1001A094 | Line B
timeserie | ResultsC | 1 | Loading-1 | 2020-03-01T00:00:00Z |  | 103
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T00:00:00Z | 10X1001A1001A094 | Open Tie line Vigy-Ensdorf 380kV | 1 | 0 |  | ok for us
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T00:00:00Z | 10XDE-VE-TRANSMK | Open Tie line Vigy-Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 1 | CRA-1 | 2020-03-01T00:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Zwen | 0 | 1 | Not available
timeserie | ResultsC | 1 | PRALoading | 2020-03-01T00:00:00Z |  | 101
timeserie | ResultsC | 1 | CRALoading | 2020-03-01T00:00:00Z |  | 93
timeserie | ResultsC | 1 | Contingency-1 | 2020-03-01T08:00:00Z | 10XDE-VE-TRANSMK | Line A
timeserie | ResultsC | 1 | Constraint-1 | 2020-03-01T08:00:00Z | 10X1001A1001A094 | Line B
timeserie | ResultsC | 1 | Loading-1 | 2020-03-01T08:00:00Z |  | 110
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T08:00:00Z | 10X1001A1001A094 | Open Tie line Vigy-Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 1 | PRA-1 | 2020-03-01T08:00:00Z | 10XDE-VE-TRANSMK | Open Tie line Vigy-Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 1 | CRA-1 | 2020-03-01T08:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Zwen | 0 | 1 | Not available
timeserie | ResultsC | 1 | PRALoading | 2020-03-01T08:00:00Z |  | 105
timeserie | ResultsC | 1 | CRALoading | 2020-03-01T08:00:00Z |  | 99
timeserie | ResultsC | 2 | Contingency-1 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | Line F
timeserie | ResultsC | 2 | Constraint-1 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | Line G
timeserie | ResultsC | 2 | Loading-1 | 2020-03-01T04:00:00Z |  | 108
timeserie | ResultsC | 2 | PRA-1 | 2020-03-01T04:00:00Z | 10X1001A1001A094 | Open Line C | 1 | 0
timeserie | ResultsC | 2 | PRA-2 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Zwen | 1 | 0
timeserie | ResultsC | 2 | CRA-1 | 2020-03-01T04:00:00Z | 10XCS-SERBIATSO8 | 2 nodes in Nis 380kV | 1 | 0
timeserie | ResultsC | 2 | CRA-2 | 2020-03-01T04:00:00Z | 10XDE-VE-TRANSMK | 2 nodes in Ensdorf 380kV | 1 | 0
timeserie | ResultsC | 2 | PRALoading | 2020-03-01T04:00:00Z |  | 106
timeserie | ResultsC | 2 | CRALoading | 2020-03-01T04:00:00Z |  | 92
timeserie | ResultsC | 3 | Contingency-1 | 2020-03-01T07:00:00Z |  | Line J
timeserie | ResultsC | 3 | Constraint-1 | 2020-03-01T07:00:00Z |  | Line K
timeserie | ResultsC | 3 | Constraint-2 | 2020-03-01T08:00:00Z |  | Transformer R
timeserie | ResultsC | 3 | Loading-1 | 2020-03-01T08:00:00Z |  | 109
timeserie | ResultsC | 3 | Loading-2 | 2020-03-01T08:00:00Z |  | 107
timeserie | ResultsC | 3 | PRA-1 | 2020-03-01T09:00:00Z | 10X1001A1001A094 | Open Line Z | 1 | 0
timeserie | ResultsC | 3 | PRA-2 | 2020-03-01T09:00:00Z | 10XDE-VE-TRANSMK | Disconnection HPP Romsac | 1 | 0
timeserie | ResultsC | 3 | CRA-1 | 2020-03-01T09:00:00Z | 10XCS-SERBIATSO8 | 2 nodes in Nis 380kV | 0 | 1 | Impossible to implement | Maybe 3 nodes ?
timeserie | ResultsC | 3 | CRA-2 | 2020-03-01T10:00:00Z | 10XDE-VE-TRANSMK | 2 nodes in Ensdorf 380kV | 0 | 1 | Not available
timeserie | ResultsC | 3 | PRALoading | 2020-03-01T10:00:00Z |  | 108
timeserie | ResultsC | 3 | CRALoading | 2020-03-01T10:00:00Z |  | 106
timeserie | ResultD |  | BA-RS | 2020-03-01T00:00:00Z | 10XCS-SERBIATSO8; | 4766 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T00:00:00Z | 10YBA-JPCC-----D | 4766 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T01:00:00Z | 10XCS-SERBIATSO8; | 2025 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T01:00:00Z | 10YBA-JPCC-----D | 1336 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T02:00:00Z | 10XCS-SERBIATSO8; | 5704 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T02:00:00Z | 10YBA-JPCC-----D | 5397 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T03:00:00Z | 10XCS-SERBIATSO8; | 5011 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T03:00:00Z | 10YBA-JPCC-----D | 5074 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T04:00:00Z | 10XCS-SERBIATSO8; | 1625 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T04:00:00Z | 10YBA-JPCC-----D | 5612 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T05:00:00Z | 10XCS-SERBIATSO8; | 3427 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T05:00:00Z | 10YBA-JPCC-----D | 2452 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T06:00:00Z | 10XCS-SERBIATSO8; | 3156 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T06:00:00Z | 10YBA-JPCC-----D | 3114 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T07:00:00Z | 10XCS-SERBIATSO8; | 2611 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T07:00:00Z | 10YBA-JPCC-----D | 2967 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T08:00:00Z | 10XCS-SERBIATSO8; | 3220 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T08:00:00Z | 10YBA-JPCC-----D | 2518 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T09:00:00Z | 10XCS-SERBIATSO8; | 5422 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T09:00:00Z | 10YBA-JPCC-----D | 3323 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T10:00:00Z | 10XCS-SERBIATSO8; | 5788 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T10:00:00Z | 10YBA-JPCC-----D | 5714 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T11:00:00Z | 10XCS-SERBIATSO8; | 4539 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T11:00:00Z | 10YBA-JPCC-----D | 1046 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T12:00:00Z | 10XCS-SERBIATSO8; | 2891 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T12:00:00Z | 10YBA-JPCC-----D | 4172 | 0 | 1 | 500 | Too high value
timeserie | ResultD |  | BA-RS | 2020-03-01T13:00:00Z | 10XCS-SERBIATSO8; | 1135 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T13:00:00Z | 10YBA-JPCC-----D | 5140 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T14:00:00Z | 10XCS-SERBIATSO8; | 4368 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T14:00:00Z | 10YBA-JPCC-----D | 3531 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T15:00:00Z | 10XCS-SERBIATSO8; | 3351 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T15:00:00Z | 10YBA-JPCC-----D | 2158 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T16:00:00Z | 10XCS-SERBIATSO8; | 3946 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T16:00:00Z | 10YBA-JPCC-----D | 3604 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T17:00:00Z | 10XCS-SERBIATSO8; | 4651 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T17:00:00Z | 10YBA-JPCC-----D | 2243 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T18:00:00Z | 10XCS-SERBIATSO8; | 5818 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T18:00:00Z | 10YBA-JPCC-----D | 1009 | 0 | 1 | 2000 | NTC reduction required by BA
timeserie | ResultD |  | BA-RS | 2020-03-01T19:00:00Z | 10XCS-SERBIATSO8; | 4506 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T19:00:00Z | 10YBA-JPCC-----D | 5478 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T20:00:00Z | 10XCS-SERBIATSO8; | 1036 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T20:00:00Z | 10YBA-JPCC-----D | 5516 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T21:00:00Z | 10XCS-SERBIATSO8; | 5246 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T21:00:00Z | 10YBA-JPCC-----D | 2752 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T22:00:00Z | 10XCS-SERBIATSO8; | 2859 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T22:00:00Z | 10YBA-JPCC-----D | 3578 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T23:00:00Z | 10XCS-SERBIATSO8; | 3568 | 1 | 0
timeserie | ResultD |  | BA-RS | 2020-03-01T23:00:00Z | 10YBA-JPCC-----D | 1290 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T00:00:00Z | 10XCS-SERBIATSO8; | 2600 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T00:00:00Z | 10YBA-JPCC-----D | 1478 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T01:00:00Z | 10XCS-SERBIATSO8; | 1848 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T01:00:00Z | 10YBA-JPCC-----D | 5862 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T02:00:00Z | 10XCS-SERBIATSO8; | 5211 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T02:00:00Z | 10YBA-JPCC-----D | 1517 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T03:00:00Z | 10XCS-SERBIATSO8; | 3092 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T03:00:00Z | 10YBA-JPCC-----D | 3947 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T04:00:00Z | 10XCS-SERBIATSO8; | 1773 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T04:00:00Z | 10YBA-JPCC-----D | 3798 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T05:00:00Z | 10XCS-SERBIATSO8; | 3697 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T05:00:00Z | 10YBA-JPCC-----D | 5675 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T06:00:00Z | 10XCS-SERBIATSO8; | 3987 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T06:00:00Z | 10YBA-JPCC-----D | 5711 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T07:00:00Z | 10XCS-SERBIATSO8; | 3890 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T07:00:00Z | 10YBA-JPCC-----D | 1117 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T08:00:00Z | 10XCS-SERBIATSO8; | 4207 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T08:00:00Z | 10YBA-JPCC-----D | 2870 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T09:00:00Z | 10XCS-SERBIATSO8; | 5435 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T09:00:00Z | 10YBA-JPCC-----D | 4751 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T10:00:00Z | 10XCS-SERBIATSO8; | 3733 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T10:00:00Z | 10YBA-JPCC-----D | 1300 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T11:00:00Z | 10XCS-SERBIATSO8; | 5738 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T11:00:00Z | 10YBA-JPCC-----D | 2654 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T12:00:00Z | 10XCS-SERBIATSO8; | 3521 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T12:00:00Z | 10YBA-JPCC-----D | 5900 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T13:00:00Z | 10XCS-SERBIATSO8; | 2377 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T13:00:00Z | 10YBA-JPCC-----D | 2014 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T14:00:00Z | 10XCS-SERBIATSO8; | 5765 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T14:00:00Z | 10YBA-JPCC-----D | 4322 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T15:00:00Z | 10XCS-SERBIATSO8; | 4390 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T15:00:00Z | 10YBA-JPCC-----D | 3743 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T16:00:00Z | 10XCS-SERBIATSO8; | 5301 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T16:00:00Z | 10YBA-JPCC-----D | 4962 | 0 | 1 | 1500 | Have to decrease border exchange
timeserie | ResultD |  | RS-BA | 2020-03-01T17:00:00Z | 10XCS-SERBIATSO8; | 5456 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T17:00:00Z | 10YBA-JPCC-----D | 5954 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T18:00:00Z | 10XCS-SERBIATSO8; | 3589 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T18:00:00Z | 10YBA-JPCC-----D | 1143 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T19:00:00Z | 10XCS-SERBIATSO8; | 4278 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T19:00:00Z | 10YBA-JPCC-----D | 4159 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T20:00:00Z | 10XCS-SERBIATSO8; | 3805 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T20:00:00Z | 10YBA-JPCC-----D | 4974 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T21:00:00Z | 10XCS-SERBIATSO8; | 3159 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T21:00:00Z | 10YBA-JPCC-----D | 4073 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T22:00:00Z | 10XCS-SERBIATSO8; | 5930 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T22:00:00Z | 10YBA-JPCC-----D | 5462 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T23:00:00Z | 10XCS-SERBIATSO8; | 1499 | 1 | 0
timeserie | ResultD |  | RS-BA | 2020-03-01T23:00:00Z | 10YBA-JPCC-----D | 3989 | 1 | 0